## Front Page
Version 3: June 2022
CETANZ Uncertainty of Measurement Tool
Based on the method described in "Technical Guide AS TG5 May 2004 Uncertainty of Measurement and Precision and Limits of Detection in Chemical and Microbiological Testing Laboratories" section 5.6.3 Replicate Analyses in the Laboratory. Formula 4.
Disclaimer: This tool is provided as a starting point for Civil Engineering Laboratories that have limited experience with Estimations of Uncertainty. It is not suited to all testing undertake by Civil Laboratories and consideration should be given to its use and application.
This is a CETANZ initiative that is free to CETANZ members to fulfil part of our goal of adding benefit to members. Please do not distribute this to any other party without written permission from CETANZ.

## Introduction
Introduction
At the request of the CETANZ membership and IANZ, the CETANZ Technical Group has formulated a tool for Estimation of Uncertainty to be used by Civil Engineering Laboratories. The use of this tool is voluntary and is not a requirement of IANZ accreditation.
It is the intention of CETANZ that this tool is available for all CETANZ members to use, develop and share. If you have any suggestions on improvements or modifications please contact the Technical Group at info@cetanz.org.nz
The approach has been adopted from the Chemical and Microbiological programme and is designed to be a much simpler method than many of us use presently. This tool will provide Estimates of Uncertainty for any test that has one measurand output. The design of the tool allows one to collect data over time using many different actual test samples instead of the current practice of carrying out many tests on an individual sample.
The basis of the calculation is the routine collection of replicate test results from the SAME sample. This process is repeated with different samples over time and results are logged in the tool as you gather more information. These replicate tests should include all normal variations, i.e. different equipment normally used, different technicians and normal differences in sampling technique etc.
Care should be taken with test data, as in some instances certain tests will produce different Uncertainties at different magnitudes. For Example the Sand Equivalent test may have an UoM of ±10 at SE's of 40, but only ±5 at 50. If you see these relationships occurring, please treat the data separately. i.e. you may have to report two UoM one for SE's of range 30 to 40 and one for 40 to 60. Or it may be as simple as reporting different UoM for different applications. i.e. Concrete SE's, Roading Base SE's and Sub base SE's.
Two simple examples are supplied that demonstrate the use of this tool.
Version 3: June 2022
Version 2: July 2015

## Uncertainty Calculation Sheet
EVALUATION OF UNCERTAINTY BY STATISTICAL ANALYSIS
TEST METHOD
When the table is full, click the button to substitute new data for oldest
Sample Number | Date | Technician | Test R1 | Date | Technician | Test R2 | Difference (R2-R1)2
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Version 3: June 2022
Notes
Each sample is to be tested twice and should include all normal variations of testing within the
laboratory, i.e different technician, equipment, time etc.
If you do more than a pair of tests on the same sample, treat each additional two as a pair.
Aim for at least 10 degree of freedom (DoF). DoF = (No. of samples.)
Substitute new data for oldest after 20 DoF (20 samples) exceeded by press the New Data button.
Type in the results to the table, one pair a row
The level of uncertainty of the test will be shown in the grey area of bottom right of the worksheet
Only the yellow cells are able to be modified.
Transfer the results to the spreadsheet of "UoM".
| Average |  |  | Standard Deviation
| Degrees of freedom | #VALUE!
UNCERTAINTY OF MEASUREMENT =
New Data

## Example
EVALUATION OF UNCERTAINTY BY STATISTICAL ANALYSIS
| TEST METHOD | NZS 4407 2015 3.6 Sand Equivalent
When the table is full, click the button to substitute new data for oldest
Sample Number | Date | Technician | Test R1 | Date | Technician | Test R2 | Difference (R2-R1)2
1 | 2010-02-10 | Sam | 56 | 2010-02-10 | Bill | 57 | 1
2 | 2010-02-11 | Bill | 60 | 2010-02-11 | Sam | 62 | 4
3 | 2010-02-12 | John | 55 | 2010-02-13 | Bill | 52 | 9
4 | 2010-02-13 | Ben | 50 | 2010-02-15 | John | 52 | 4
5 | 2010-02-14 | Sam | 52 | 2010-02-17 | Ben | 50 | 4
6 | 2010-02-15 | Bill | 56 | 2010-02-19 | Sam | 55 | 1
7 | 2010-02-16 | John | 58 | 2010-02-21 | Bill | 56 | 4
8 | 2010-02-17 | Ben | 57 | 2010-02-23 | Bill | 59 | 4
9 | 2010-02-18 | Sam | 55 | 2010-02-25 | John | 57 | 4
10 | 2010-02-19 | Bill | 59 | 2010-02-27 | Ben | 61 | 4
11
12
13
14
15
16
17
18
19
20
Version 3: June 2022
Notes
Each sample is to be tested twice and should include all normal variations of testing within the
laboratory, i.e different technician, equipment, time etc.
If you do more than a pair of tests on the same sample, treat each additional two as a pair.
Aim for at least 10 degree of freedom (DoF). DoF = (No. of samples.)
Substitute new data for oldest after 20 DoF (20 samples) exceeded by press the New Data button.
Type in the results to the table, one pair a row
The level of uncertainty of the test will be shown in the grey area of bottom right of the worksheet
Only the yellow cells are able to be modified.
Transfer the results to the spreadsheet of "UoM".
| Average | 55.95 |  | Standard Deviation | 1.472
| Degrees of freedom | 9
UNCERTAINTY OF MEASUREMENT = |  |  |  |  | 2.9439
New Data

## UoM
Laboratory Test Method Uncertainty of Measurement | Uncertainty of test method | Comments
Aggregate - 4.01
Method
2S (95%)
Bituminous Materials - 4.02
Method
Soils 4.08
Method
Pavement Testing 4.20
Method
Concrete Testing 4.04
Method
Version 3: June 2022